[bookmark: _GoBack]Minutes – RK Hall Feedback / Production HWT Calibration Process
September 10, 2018
1:00 PM to 1:30 PM

Attendees: Jason Moser, Dorian Lewis, Eric Hayes, Yan Zhang, Brian Norman, Clint Van Winkle, Sharayu Ghangrekar, John Vaders, James Galante, Gary Hockenbury

Absent: Finch Troxler, Dan Pratt 


Situation:
· Thursday September 6th, 2018 
· Dean Arrives at RK Hall to calibrate Standard WheelTracker
· During Step 5 of the calibration, Dean receives the following error
[image: ]
· Sharayu sent him



 
· Dean attempts to use his laptop, but battery is dead, he leaves to charge the computer
· Friday September 7th 2018
· Deans computer will not connect to the PLC receiving the following error
[image: ]
RK Hall Solution:
· Dean was going to ship gauge blocks to RTP, and is now going to ship gauge blocks to Pete
· Dorian is going to prepare a computer to do the calibration
· Eric to ship Computer to Pete
· Pete 
· Install CoDeSys on his laptop
· Receive
· Gauge Blocks 
· Computer 
· Visit RK Hall early next week if possible 
· Use laptop to check voltage on bailiffs
· Use WheelTracker computer to calibrate
· Clint to Call Richard at RK Hall
· Michael Dixon to call his contact at RK Hall

Long-Term Solution:
· Clint to change procedure so that calibration is done at RTP with the computer to be shipped out
· John/Eric Technicians to have their own gauge blocks
· Jason/Brian make CoDeSys available on your respective
· Service drives 
· NPD drives
· Yan will write possible procedure for connecting to PLC when receiving “Unable to connect to PLC” error
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; Dependency file for setup wizards.



[Version]

Version=6.0.81.69



; Dependencies for MsFlxGrd.ocx



; Default Dependencies ----------------------------------------------



[MsFlxGrd.ocx]

Dest=$(WinSysPath)

Register=$(DLLSelfRegister)

Version=6.0.81.69

Uses1=ComCat.dll

Uses2=

CABFileName=MsFlxGrd.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=MsFlxGrd.inf



[ComCat.dll]

Dest=$(WinSysPathSysFile)

Register=$(DLLSelfRegister)

Uses1=



; Localized Dependencies -------------------------------------------- 



; ** German (DE) ***

; (0007 = German)

;

[MsFlxGrd.ocx <0007>]

Uses1=FlxGdDE.dll

Uses2=



[FlxGdDE.dll <0007>]

Uses1=

CABFileName=FlxGdDE.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdDE.inf



; ** French (FR) ***

; (000C = French)

;

[MsFlxGrd.ocx <000C>]

Uses1=FlxGdFR.dll

Uses2=



[FlxGdFR.dll <000C>]

Uses1=

CABFileName=FlxGdFR.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdFR.inf



; ** Italian (IT) ***

; (0010 = Italian)

;

[MsFlxGrd.ocx <0010>]

Uses1=FlxGdIT.dll

Uses2=



[FlxGdIT.dll <0010>]

Uses1=

CABFileName=FlxGdIT.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdIT.inf



; ** Spanish (ES) ***

; (000A = Spanish)

;

[MsFlxGrd.ocx <000A>]

Uses1=FlxGdES.dll

Uses2=



[FlxGdES.dll <000A>]

Uses1=

CABFileName=FlxGdES.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdES.inf



; ** Japanese (JP) ***

; (0011 = Japanese)

;

[MsFlxGrd.ocx <0011>]

Uses1=FlxGdJP.dll

Uses2=



[FlxGdJP.dll <0011>]

Uses1=

CABFileName=FlxGdJP.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdJP.inf



; ** Korean (KO) ***

; (0012 = Korean)

;

[MsFlxGrd.ocx <0012>]

Uses1=FlxGdKO.dll

Uses2=



[FlxGdKO.dll <0012>]

Uses1=

CABFileName=FlxGdKO.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdKO.inf



; ** Chinese Traditional (CHT) ***

; (0404 = Chinese Traditional)

;

[MsFlxGrd.ocx <0404>]

Uses1=FlxGdCHT.dll

Uses2=



[FlxGdCHT.dll <0404>]

Uses1=

CABFileName=FlxGdCHT.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdCHT.inf



; ** Chinese Simplified (CHS) ***

; (0804 = Chinese Simplified)

;

[MsFlxGrd.ocx <0804>]

Uses1=FlxGdCHS.dll

Uses2=



[FlxGdCHS.dll <0804>]

Uses1=

CABFileName=FlxGdCHS.cab

CABDefaultURL=http://activex.microsoft.com/controls/vb6

CABINFFile=FlxGdCHS.inf
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