03.25.2020

Tester: Harry Fu

Test Place:  Troxler Labs

Test process and result:

1)Initial checkup

Three Batteries.  One(#1) is broken and exploded and the other two(#2,#3) are intact.

See the following pictures Fig1~Fig3

Battery Type:   Tenergy Nickel-Cadmium 5000mAh Nicd Rechargable

2) Battery voltage

#1: exploded ; Label as 6-22-2016;

#2:  intact;  Voltage = 1.259V

#3:  intact;   Voltage = 1.329V

Fig1

Fig2

Fig3